Assumptions:

- Pipes will be of length 6m in one pc.

- All connection will be Flanged.

- All valves and flanges will be of ASA 150

- MOC for all material will be CS.

- Pipe wastage factor is 3% or 1.03.

- Fittings Qty by default = 0.

- Valve qty by default = 0.