Process Inputs

↓

Steam Calculation

↓

Steam Pipe Size

↓

Condensate Pipe Size

↓

User Enters Fitting Quantities

↓

BOQ Generation

↓

Cost Estimation

↓

Excel Export

BOQ Generation - Inputs:

Steam Line

- Pipe length

- Number of 90° elbows

- Number of 45° elbows

- Number of tees

- Number of reducers

- Number of isolation valves

- Number of strainers

- Number of steam traps (if applicable)

Condensate Line

- Pipe length

- Number of elbows

- Number of tees

- Number of reducers

- Number of valves

- Number of NRVs

BOQ Logic Rules:

- Pipes - Route Length × Wastage Factor + Calculated pipe size

- Elbows – User input + Calculated pipe size

- Tees – Entered qty+ Calculated pipe size (Not for V1)

- Reducers – Not for V1

- Flanges – Valves Qty x 2 (Valve qty from user input)

- Gaskets - = No. of flanges

- Bolts + Nuts + washers – As per flange

- Insulation - π*D*L, where D=Pipe OD and L = Total Pipe length (thickness to be selected)

- Pipe Support – Calculate using pipe support table

List of Columns in BOQ for V1:

- Item No.

- Category

- Service

- Description

- Size

- Quantity

- Unit

- Rate

- Amount