- Heat Load Calculation:

Option 1:

Heat Load (Q) = (Product Mass) x (Product Specific heat) x (Initial Temperature – Final Temperature)/(Heating Time)

Heat Load (Q) – kJ/hr

Option 2:

Heat Qty required: (kJ)

Heating Time: (hrs)

Heat Load (Q) = (Heat Qty required) / (Heating Time)

Heat Load (Q) – kJ/hr