## PRV_Input
Parameter | Value | Units
Steam Flow | 1500 | kg/hr
Inlet Pressure | 15 | barg
Outlet Pressure | 3 | barg

## PRV_Database
Valve Model | Type | Size | Capacity kg/hr
FM-P100 | Pilot | 1" | 1200
FM-P150 | Pilot | 1.5" | 2200
FM-P200 | Pilot | 2" | 4200
FM-P300 | Pilot | 3" | 7000
FM-P400 | Pilot | 4" | 12000

## PRV_Results
Output | Value
Recommended Size
Valve Model
Capacity kg/hr
Utilization %
Sizing Comment

## Steam_Properties
Populate steam table data here for future interpolation.
Pressure (barg) | Specific Volume | Sat Temp | Enthalpy

## Direct_Acting_PRV
Enter manufacturer capacity tables for direct acting PRVs.

## Pilot_Operated_PRV
Enter manufacturer capacity tables for pilot operated PRVs.

## PRV_Station_BOQ
Item | Qty
Isolation Valve Upstream | 1
Y Strainer | 1
PRV | 1
Pressure Gauge Upstream | 1
Pressure Gauge Downstream | 1
Separator | 1
Steam Trap | 1
Safety Valve | 1
Isolation Valve Downstream | 1